## Sheet1
Function Code | Index | Type | Endian | IP Address | Name | Value | Unnamed: 7 | Unnamed: 8 | Unnamed: 9 | Type Drop Downlist | Endian Drop Downlist | UpdatedValue
2 | 1 | Binary | Little | 10.200.120.12 | aa | 1 |  |  |  | Binary | Big | 0
2 | 2 | Binary | Little | 10.200.120.12 | aa | 1 |  |  |  | Float | Little | 0
2 | 3 | Binary | Little | 10.200.120.12 | aa | 1 |  |  |  | Swapped Float |  | 0
3 | 1 | Float | Little | 10.200.120.12 | aa | 20.52 |  |  |  | 16bit signed Integer |  | 79
3 | 3 | Swapped Float | Little | 10.200.120.12 | aa | 52.35 |  |  |  | 16bit unsigned Integer |  | 67
3 | 5 | 16bit signed Integer | Little | 10.200.120.12 | aa | -25 |  |  |  | 32bit signed Integer |  | 73
3 | 7 | 16bit unsigned Integer | Little | 10.200.120.12 | aa | 55 |  |  |  | 32bit unsigned Integer |  | 39
3 | 9 | 32bit unsigned Integer | Little | 10.200.120.12 | aa | 4532452 | [5 empty] | 18
3 | 11 | Float | Big | 10.200.120.12 | aa | 20.52 | [5 empty] | 16
5 | 1 | Binary | Little | 10.200.120.12 | aa
5 | 3 | Binary | Little | 10.200.120.12 | aa
5 | 5 | Binary | Little | 10.200.120.12 | aa
6 | 1 | Float | Little | 10.200.120.12 | aa
6 | 3 | Swapped Float | Little | 10.200.120.12 | aa
6 | 5 | 16bit signed Integer | Little | 10.200.120.12 | aa
6 | 7 | 16bit unsigned Integer | Little | 10.200.120.12 | aa
6 | 9 | 32bit unsigned Integer | Little | 10.200.120.12 | aa
6 | 11 | Float | Big | 10.200.120.12 | aa